## Assorted
Id | Model | Name | Mark | Department | Way-Finding Department | Coordinate Reference | Room Number | Room Name | Way-Finding Room Name | Floor | CCTV Primary Target | CCTV Ancillary Target 1 | CCTV Ancillary Target 2 | Associated CCTV Camera | Functional Area | Category | Category Number | Security Zone 1 | Security Zone 2 | HVAC Zone | Fire Alarm Zone | Fire Alarm Zone 2 | System Owner | Termination Destination | Point Name | Parent Name | IP Address | Lighting Control Address 1 | Lighting Control Address 2 | Display by default | Family and Type | PCH_Installation_Status | type | Asset identifier (BIM 360) | Asset Name (BIM 360) | Asset No (BIM 360) | Comments | Date
500000 | - | Apache 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Apache-1_3034_LXPQ023ELV | ELV Server 2 | 172.28.34.32 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500001 | - | Apache 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Apache-1_3035_LXPQ023ELV | ELV Server 2 | 172.28.35.32 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500002 | IC-03 | Apache 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Apache-2_3035_LXPQ024ELV | ELV Server 1 | 172.28.35.33 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500003 | IC-03 | Apache 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Apache-2_3034_LXPQ024ELV | ELV Server 1 | 172.28.34.33 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500004 | IC-03 | Apache VIP | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Apache-Virt-IP_3035 | ELV Server 1 | 172.28.35.254 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500005 | IC-03 | BMS Kepserver EX OPC Server 1 Interface 1 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Building Management System |  | BMS_KEP-OPC-Srvr-IF1_3035_WSPQOPC001ELV | ELV Server 1 | 172.28.35.41 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500006 | IC-03 | BMS Kepserver EX OPC Server 1 Interface 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Building Management System |  | BMS_KEP-OPC-Srvr-IF2_3035_WSPQOPC001ELV | ELV Server 1 | 172.28.35.42 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500052 | IC-03 | CCTV Middleware Server | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_Mdlware-Srvr_3060_WSPQCCT001ELV | ELV Server 1 | 172.28.60.15 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500051 | IC-03 | Continuum Alarm Logging Server | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | SMS_Cntm-Alm-Log-Svr-WS210_3035 | ELV Server 1 | 172.28.35.243 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500068 | IC-03 | CQRiT Electronic Key Management Server | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | SMS_CCQiT-EKMSvr-KMS0001_3045_WSPQKMS001ELV | ELV Server 1 | 172.28.45.10 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500007 | IC-03 | DIS Middleware / Service Server | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | DIS_DIS-Mdlware-Srvr_3046_WSPQDIS001ELV | ELV Server 1 | 172.28.46.240 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500083 | IC-03 | Domain Controller 1 | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_DomController1_3035_WSPQDC001ELV | ELV Server 3 | 172.28.35.150 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500084 | - | Domain Controller 2 | ELV004 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_DomController2_3035_WSPQDC002ELV | ELV Server 4 | 172.28.35.151 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500008 | IC-03 | ELV Console KVM | ELV006 | ICT | Facilities Management | 162.715, 54.587 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV Console KVM |  |  |  |  | N | SCH_RACK_EQUIPMENT: ELV Console KVM_Belkin F1DC108Hau | As Built | IC | IC-03-7598646 | COM QE COM01287 | QE COM01287
500072 | IC-03 | ELV MSSQL - BIM Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-BIM_3035 | ELV MSSQL Server 1 | 172.28.35.157 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500080 | IC-03 | ELV MSSQL - BPMN Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-pch-bpmn_3035 | ELV MSSQL Server 1 | 172.28.35.160 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500071 | IC-03 | ELV MSSQL - ELV Alarms Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-Alarms_3035 | ELV MSSQL Server 1 | 172.28.35.165 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500075 | IC-03 | ELV MSSQL - ELV Reports cluster Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-Reports_3035 | ELV MSSQL Server 1 | 172.28.35.156 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500073 | IC-03 | ELV MSSQL - Explorer Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-Explorer_3035 | ELV MSSQL Server 1 | 172.28.35.164 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500076 | IC-03 | ELV MSSQL - Incoming Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-incoming_3035 | ELV MSSQL Server 1 | 172.28.35.162 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500077 | IC-03 | ELV MSSQL - Intercom Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-intercom_3035 | ELV MSSQL Server 1 | 172.28.35.158 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500079 | IC-03 | ELV MSSQL - Outcoming Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-outcoming_3035 | ELV MSSQL Server 1 | 172.28.35.163 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500082 | IC-03 | ELV MSSQL - PCH Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-pch_3035 | ELV MSSQL Server 1 | 172.28.35.159 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500081 | IC-03 | ELV MSSQL - PCH Reports Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-pch-reports_3035 | ELV MSSQL Server 1 | 172.28.35.161 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500078 | IC-03 | ELV MSSQL - Portal Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-lportal_3035 | ELV MSSQL Server 1 | 172.28.35.166 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500074 | IC-03 | ELV MSSQL - Reports Server Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLListener-ELV-ReportsServer_3035 | ELV MSSQL Server 1 | 172.28.49.250 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500085 | IC-03 | ELV MSSQL - Wrapper Database Listener | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | SMS_MSSQLListener-IF_3035 | Primary ELV Wrapper | 172.28.35.37 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500086 | IC-03 | ELV MSSQL Cluster VIP | ELV003 | ICT | Facilities Management | 165.056, 56.882 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_MSSQLServer-VIP_3035 | ELV Server 1 | 172.28.35.154 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500069 | IC-03 | ELV MSSQL Server 1 | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_MSSQLServer-1_3035_WSPQSQL001ELV | ELV Server 1 | 172.28.35.152 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500070 | - | ELV MSSQL Server 2 | ELV004 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_MSSQLServer-2_3035_WSPQSQL001ELV | ELV Server 2 | 172.28.35.153 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500009 | IC-03 | ELV SAN 1 | SAN001 | ICT | Facilities Management | 162.704, 54.598 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System | CCR2 Rack C20, AS-PCH-CCR2-01-N5612, AS-PCH-CCR2-02-N5612 | ELV SAN 1 |  |  |  |  | N | SCH_RACK_EQUIPMENT: ELV San_EMC VNX5200 SAN | As Built | IC | IC-03-7597889 | COM QE COM01209 | QE COM01209
500010 | - | ELV SAN 2 | SAN002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System | CCR1 Rack C03,AS-PCH-CCR1-01-N5612, AS-PCH-CCR1-02-N5612, AS-PCH-CCR1-01-C2960 | ELV SAN 2 |  |  |  |  | N | SCH_RACK_EQUIPMENT: ELV San_EMC VNX5200 SAN | As Built | IC
500011 | IC-03 | ELV Server 1 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System | CCR2 Rack C20, AS-PCH-CCR2-01-N5612, AS-PCH-CCR2-02-N5612 | OBM_ftsysmgt-ELVSvr1_3033_VAPQODM001ELV |  | 172.28.33.16 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500090 | IC-03 | ELV Server 1 - VTM | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | OBM_vtmsysmgt-ELVSvr1_3033_VAPQODM001ELV | ELV Server 1 | 172.28.33.17 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500012 | - | ELV Server 2 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System | CCR1 Rack C03, AS-PCH-CCR1-01-N5612, AS-PCH-CCR1-02-N5612 | OBM_ftsysmgt-ELVSvr2_3033_VAPQODM002ELV |  | 172.28.33.12 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500091 | - | ELV Server 2 - VTM | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | OBM_vtmsysmgt-ELVSvr2_3033_VAPQODM002ELV | ELV Server 2 | 172.28.33.13 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500013 | IC-03 | ELV Server 3 | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System | CCR2 Rack C17, AS-PCH-CCR2-01-N5612, AS-PCH-CCR2-02-N5612 | OBM_ftsysmgt-ELVSvr3_3033_VAPQODM006ELV |  | 172.28.33.23 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500092 | IC-03 | ELV Server 3 - VTM | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | OBM_vtmsysmgt-ELVSvr3_3033_VAPQODM006ELV | ELV Server 3 | 172.28.33.24 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500014 | - | ELV Server 4 | ELV004 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System | CCR1 Rack C03, AS-PCH-CCR1-01-N5612, AS-PCH-CCR1-02-N5612 | OBM_ftsysmgt-ELVSvr4_3033_VAPQODM007ELV |  | 172.28.33.29 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500093 | - | ELV Server 4 - VTM | ELV004 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | OBM_vtmsysmgt-ELVSvr4_3033_VAPQODM007ELV | ELV Server 4 | 172.28.33.30 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500087 | IC-03 | ELV Services Machine 1 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Services1_3035_WSPQELV001ELV | ELV Server 1 | 172.28.35.170 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500088 | - | ELV Services Machine 2 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Services2_3035_WSPQELV002ELV | ELV Server 2 | 172.28.35.171 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500089 | IC-03 | ELV Services Machine 3 | ELV003 | ICT | Facilities Management | 165.056, 56.882 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Services3_3035_WSPQELV003ELV | ELV Server 3 | 172.28.35.172 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500053 |  | ELV Workstation 1 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS01_3035 | ELV Server 1 | 172.28.35.200 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500059 |  | ELV Workstation 10 - Helipad |  | ED Cluster | HELI Lobby | 114.812, 66.726 | EMD-105-01 | Helipad Airlock | HELI Lobby HELI Airlock | L09 |  |  |  |  | Emergency Department | ELV Servers | 2 | Zn0767 |  | HELI FCU | NA | 0 | Integrated Extra Low Voltage System |  | ELV_HelipadWS_3035 | ELV Server 1 | 172.28.35.227 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500060 |  | ELV Workstation 11 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS11_3035 | ELV Server 1 | 172.28.35.228 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500061 |  | ELV Workstation 12 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS12_3035 | ELV Server 1 | 172.28.35.229 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500062 |  | ELV Workstation 14 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS14_3035 | ELV Server 1 | 172.28.35.231 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500063 |  | ELV Workstation 15 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS15_3035 | ELV Server 1 | 172.28.35.232 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500054 |  | ELV Workstation 2 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS02_3035 | ELV Server 1 | 172.28.35.201 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500055 |  | ELV Workstation 3 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS03_3035 | ELV Server 1 | 172.28.35.202 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500056 |  | ELV Workstation 4 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS04_3035 | ELV Server 1 | 172.28.35.203 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500057 |  | ELV Workstation 6 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS06_3035 | ELV Server 1 | 172.28.35.205 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500058 |  | ELV Workstation 7 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Integrated Extra Low Voltage System |  | ELV_PCHELV-WS07_3035 | ELV Server 1 | 172.28.35.224 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500015 | - | Fuse 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Fuse-1_3034_LXPQ001ELV | ELV Server 2 | 172.28.34.11 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500016 | IC-03 | Fuse 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Fuse-2_3034_LXPQ029ELV | ELV Server 1 | 172.28.34.47 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500017 | IC-03 | Fuse 3 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Fuse-3_3034_LXPQ030ELV | ELV Server 1 | 172.28.34.48 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500018 | IC-03 | Fuse 4 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Fuse-4_3034_LXPQ031ELV | ELV Server 1 | 172.28.34.49 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500019 | IC-03 | Fuse 5 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Fuse-5_3034_LXPQ032ELV | ELV Server 1 | 172.28.34.50 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500020 | - | LDAP 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_LDAP-1_3034_LXPQ021ELV | ELV Server 2 | 172.28.34.30 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500021 | IC-03 | LDAP 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_LDAP-2_3034_LXPQ022ELV | ELV Server 1 | 172.28.34.31 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500022 | - | Liferay 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Tomcat-1_3034_LXPQ013ELV | ELV Server 2 | 172.28.34.22 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500023 | IC-03 | Liferay 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Tomcat-2_3034_LXPQ014ELV | ELV Server 1 | 172.28.34.23 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500024 | IC-03 | Management Master | ELV005 | ICT | Facilities Management | 162.715, 54.587 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System | CCR2 Rack C20, AS-PCH-CCR2-02-N5612 | OBM_MgmtSrvr-Master_3033_WSPQMGT001ELV |  | 172.28.33.66 |  |  | N | SCH_RACK_EQUIPMENT: Generic Blade Server | As Built | IC
500025 | IC-03 | Management Server 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | OBM_MgmtSrvr-2_3033_WSPQODM004ELV | ELV Server 1 | 172.28.33.65 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500026 | - | Management Server 3 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | OBM_MgmtSrvr-3_3033_WSPQODM003ELV | ELV Server 1 | 172.28.33.240 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500027 | IC-03 | Microsoft SQL Server - PME DB | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Energy Management System |  | PME_MSSQL-PME-DB_3036_WSPQMTR002ELV | ELV Server 1 | 172.28.36.250 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500028 | IC-03 | Microsoft SQL Server - SBO Reports | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Building Management System |  | BMS_SBO-Reports_3048_WSPQBMS003ELV | ELV Server 1 | 172.28.49.250 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500029 | IC-03 | Nagios Core Network Management System | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | NMS_NagiosCore-Srvr_3034 | ELV Server 1 | 172.28.34.12 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500066 | IC-03 | Nagios Core Network Management System | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | NMS_NagiosCore-Srvr_3035 | ELV Server 1 | 172.28.35.12 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500049 | IC-03 | Primary ELV Wrapper | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | SMS_Cntm-Pri-Alm-IF_3035_WSPQSMS002ELV | ELV Server 1 | 172.28.35.241 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500030 | - | Rabbit MQ 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-1_3034_LXPQ004ELV | ELV Server 2 | 172.28.34.13 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500064 | - | Rabbit MQ 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-1_3035_LXPQ004ELV | ELV Server 2 | 172.28.35.13 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500031 | - | Rabbit MQ 2 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-2_3034_LXPQ005ELV | ELV Server 2 | 172.28.34.14 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500032 | - | Rabbit MQ 2 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-2_3035_LXPQ005ELV | ELV Server 2 | 172.28.35.14 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500033 | IC-03 | Rabbit MQ 3 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-3_3034_LXPQ027ELV | ELV Server 1 | 172.28.35.45 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500065 | IC-03 | Rabbit MQ 3 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-3_3035_LXPQ027ELV | ELV Server 1 | 172.28.34.45 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500034 | IC-03 | Rabbit MQ 4 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-4_3034_LXPQ028ELV | ELV Server 1 | 172.28.34.46 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500035 | IC-03 | Rabbit MQ 4 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_RabbitMQ-4_3035_LXPQ028ELV | ELV Server 1 | 172.28.35.46 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500036 | - | Redis 1 | ELV002 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Integrated Extra Low Voltage System |  | ELV_Redis-1_3034_LXPQ019ELV | ELV Server 2 | 172.28.34.28 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500037 | IC-03 | Redis 2 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Redis-2_3034_LXPQ025ELV | ELV Server 1 | 172.28.34.43 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500038 | IC-03 | Redis 3 | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | ELV_Redis-3_3034_LXPQ033ELV | ELV Server 1 | 172.28.34.44 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500050 | IC-03 | Secondary ELV Wrapper | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | SMS_Cntm-Sec-Alm-IF_3035_WSPQSMS003ELV | ELV Server 1 | 172.28.35.242 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500067 | IC-03 | SMS MSSQL - Continuum Database Listener | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | SMS_MSSQLListener-Cntm_3035 | ELV Server 1 | 172.28.35.35 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500096 | IC-03 | SMS MSSQL Cluster VIP | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | SMS_Cntm-MSSQL-VIP_3035 | ELV Server 3 | 172.28.35.131 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500094 | IC-03 | SMS MSSQL Server 1 | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | SMS_Cntm-MSSQL-1_3035_WSPQSQL003ELV | ELV Server 3 | 172.28.35.130 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500095 | - | SMS MSSQL Server 2 | ELV004 | ICT | Facilities Management | 17.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System |  | SMS_Cntm-MSSQL-2_3035_WSPQSQL004ELV | ELV Server 4 | 172.28.35.140 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC
500039 | IC-03 | Struxureware Building Operation - Enterprise Server | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Building Management System |  | BMS_SBO-Entprse-Srvr_3048_WSPQBMS001ELV | ELV Server 1 | 172.28.48.10 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500040 | IC-03 | Struxureware Building Operation - Workstation | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Building Management System |  | BMS_SBO-Wkstn_3048_WSPQBMS002ELV | ELV Server 1 | 172.28.48.11 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500041 |  | Struxureware Building Operation - Workstation 2 |  | IREF | Scientific Zone | 126.481, 76.334 | SWE-031-01 | Back of House Staff Room / Office | SCI/ZONE Back of House STA RM | LB |  |  |  |  | Scientific Zone - Wet Resource & Infrastructure | ELV Servers | 2 | Zn0065 |  | AHU11.2Zn1 | B2-J | 61 | Building Management System |  | BMS_SBO-Wkstn-2_3048_BMS-WS02 | Struxureware Building Operation - Enterprise Server | 172.28.48.12 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500042 |  | Struxureware Building Operation - Workstation 3 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Building Management System |  | BMS_SBO-Wkstn-3_3048_BMS-WS03 | Struxureware Building Operation - Enterprise Server | 172.28.48.13 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500043 |  | Struxureware Building Operation - Workstation 4 |  | Back of House | Facilities Management | 100.271, 80.474 | BFM-002-01 | Office | FM Load Dock Office | LB |  |  |  |  | BOH Facilities Management | ELV Servers | 2 | Zn0068 |  | AHU11.2Zn1 | B2-G | 64 | Building Management System |  | BMS_SBO-Wkstn-4_3048_BMS-WS04 | Struxureware Building Operation - Enterprise Server | 172.28.48.14 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500044 |  | Struxureware Building Operation - Workstation 5 |  | CEP | CEP | 0, 0 | CEP | Central Energy Plant | CEP | L01 |  |  |  |  | CEP | ELV Servers | 2 | 0 |  | 0 | 0 | 0 | Building Management System |  | BMS_SBO-Wkstn-5_3048_BMS-WS05 | Struxureware Building Operation - Enterprise Server | 172.28.48.210 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
500045 | IC-03 | Struxureware Data Centre Expert | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Information and Communications Technology System |  | NMS_DCE-Srvr_3051_VAPQDCE001ELV | ELV Server 1 | 172.28.51.240 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500046 | IC-03 | Struxureware Power Monitoring Expert | ELV001 | ICT | Facilities Management | 162.738, 54.564 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Energy Management System |  | PME_PME-Svr_3036_WSPQMTR001ELV | ELV Server 1 | 172.28.36.10 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598669 | COM QE COM01310 | QE COM01310
500047 | IC-03 | VCentre Server | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | OBM_VCenter-Srvr_3033_VAPQODM003ELV | ELV Server 1 | 172.28.33.125 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
500048 | IC-03 | Veeam Replication and Backup (Dormant Backup) | ELV003 | ICT | Facilities Management | 165.056, 56.882 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | ELV Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Integrated Extra Low Voltage System |  | OBM_Veeam-Rep-Bup_3033_WSPQODM002ELV | ELV Server 1 | 172.28.33.49 |  |  | N | SCH_RACK_EQUIPMENT: ELV Server_Stratus Ft 4710 | As Built | IC | IC-03-7598692 | COM QE COM01259 | QE COM01259
510000 | LV-03 | NCS Primary Server | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System | CCR2 Rack C21 | NCS_ESX1_3033 |  | 172.28.33.210 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510001 | LV-03 | NCS Primary Touch Duty Server | NCS-ESX2 | ICT | Facilities Management | 165.033, 56.971 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System | CCR2 Rack C17 | NCS_ESX2_3033 |  | 172.28.33.211 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6191004 | COM QE COM01629 | QE COM01629
510002 | - | NCS Secondary Server | NCS-ESX3 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Nurse Call Servers | 2 | 0 |  | 0 | 0 | 0 | Nurse Call System | CCR1 Rack C03 | NCS_ESX3_3033 | NCS Primary Server | 172.28.33.212 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC
510003 | - | NCS Secondary Touch Duty Server | NCS-ESX4 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Nurse Call Servers | 2 | 0 |  | 0 | 0 | 0 | Nurse Call System | CCR1 Rack C03 | NCS_ESX4_3033 | NCS Primary Touch Duty Server | 172.28.33.213 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC
510004 | LV-03 | NCS GR Floor Server 1 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCGR-1VIP_3115 | NCS Primary Server | 172.28.115.12 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510005 | LV-03 | NCS GR Floor Server 2 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCGR-2VIP_3115 | NCS Primary Server | 172.28.115.15 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510006 | LV-03 | NCS GR Floor Server 3 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCGR-3VIP_3115 | NCS Primary Server | 172.28.115.18 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510007 | LV-03 | NCS L01 Floor Server 1 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL01-1VIP_3115 | NCS Primary Server | 172.28.115.21 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510008 | LV-03 | NCS L01 Floor Server 2 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL01-2VIP_3115 | NCS Primary Server | 172.28.115.24 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510009 | LV-03 | NCS L02 Floor Server 1 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL02-1VIP_3115 | NCS Primary Server | 172.28.115.27 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510010 | LV-03 | NCS L02 Floor Server 2 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL02-2VIP_3115 | NCS Primary Server | 172.28.115.30 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510011 | LV-03 | NCS L03 Floor Server 1 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL03-1VIP_3115 | NCS Primary Server | 172.28.115.33 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510012 | LV-03 | NCS L03 Floor Server 2 | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL03-2VIP_3115 | NCS Primary Server | 172.28.115.36 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510013 | LV-03 | NCS L04 Floor Server | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL04-1VIP_3115 | NCS Primary Server | 172.28.115.39 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510014 | LV-03 | NCS L05 Floor Server | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_FCL05-1VIP_3115 | NCS Primary Server | 172.28.115.42 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510015 | LV-03 | NCS HL7 Server | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_HL7-1VIP_3115 | NCS Primary Server | 172.28.115.48 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510016 | LV-03 | NCS TAP Server | NCS-ESX1 | ICT | Facilities Management | 162.7, 54.638 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_TAP-1VIP_3115 | NCS Primary Server | 172.28.115.51 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6190345 | COM QE COM01323 | QE COM01323
510017 | LV-03 | NCS Touchduty Server | NCS-ESX2 | ICT | Facilities Management | 165.033, 56.971 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System |  | NCS_TD-14S_3115 | NCS Primary Touch Duty Server | 172.28.115.100 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC | LV-03-6191004 | COM QE COM01629 | QE COM01629
510018 | - | NCS SPOK Server | NCS-SPOK | ICT | Facilities Management | 165.033, 56.971 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Nurse Call Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Nurse Call System | CCR2 Rack C17 | NCS_SPOKSrvr_3115 | NCS Primary Server | 172.28.115.120 |  |  | N | SCH_RACK_EQUIPMENT: Nursecall Touchduty Server_Dell Poweredge R430 Server | As Built | IC
520055 | SC-04 | CCTV Workstation - Pharamacy | CCTV-PHA | Ambulatory and Allied | Pharmacy | 112.539, 86.466 | PHA-008-01 | Reception; Clerical; 2P; (12m2) | Pharmacy Clerical RECPT | L01 |  |  |  |  | Pharmacy | Security Servers | 2 | Zn0330 |  | AHU8.09Zn1 | L1-H | 106 | Security Management System |  | CCTV_Wkstn-Phar_3060_PCHCCTVPHA | CCTV Primary System Manager | 172.28.60.204 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC | SC-04-5376946
520035 | SC-03 | CCTV Primary Integration Gateway | UDI001 | ICT | Facilities Management | 162.49, 54.635 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C21 | CCTV_Intgrtn-GW-1-UDI001_3060 | CCTV Primary System Manager | 172.28.60.44 |  |  | N | Sch_Rack Equipment: CCTV Primary Integration Gateway - UDI5000-MTRX | As Built | IC | SC-03-6786792 | COM QE COM01536 | COM QE COM01536
520047 | SC-03 | DIS Total Recall Unit - CCR2 | TRVR001 | ICT | Facilities Management | 162.634, 54.704 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C21 | DIS_TtlRecallSec_3046 | DIS Primary JCCP Server | 172.28.46.237 |  |  | N | Sch_Rack Equipment: DIS Total Recall Unit - TRVR LinX Omnia | As Built | IC | SC-03-6787073 | COM QE COM01491 | COM QE COM01491
520043 | SC-03 | DIS Primary SIP Server | SIP-HA-2 | ICT | Facilities Management | 162.66, 54.918 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C21 | DIS_SIPSrvrPri_3046 | DIS SIP Proxy (VIP) | 172.28.46.234 |  |  | N | Sch_Rack Equipment: DIS Primary SIP Server - TCH-2MXH | As Built | IC | SC-03-6786855 | COM QE COM01542 | COM QE COM01542
520049 | SC-03 | DIS SIP Proxy (VIP) | SIP-HA-2 | ICT | Facilities Management | 162.66, 54.918 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | DIS_SIPProxy-VIP_3046 | DIS JCCP Server (VIP) | 172.28.46.236 |  |  | N | Sch_Rack Equipment: DIS Primary SIP Server - TCH-2MXH | As Built | IC | SC-03-6786855 | COM QE COM01542 | COM QE COM01542
520036 | SC-03 | CCTV Primary System Manager | SM001 | ICT | Facilities Management | 162.665, 54.673 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C21 | CCTV_SysMgr1_3060 |  | 172.28.60.10 |  |  | N | Sch_Rack Equipment: CCTV Primary System - SM5200 | As Built | IC | SC-03-6786882 | COM QE COM01256 | COM QE COM01256
520064 | SC-03 | CCTV System Manager VIP | SM001 | ICT | Facilities Management | 162.665, 54.673 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_SysMgr-VIP_3060 |  | 172.28.60.12 |  |  | N | Sch_Rack Equipment: CCTV Primary System - SM5200 | As Built | IC | SC-03-6786882 | COM QE COM01256 | COM QE COM01256
520042 | SC-03 | DIS Primary JCCP Server | JCCP-HA-2 | ICT | Facilities Management | 162.714, 54.623 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C21 | DIS_JCCPSrvrPri_3046 | DIS JCCP Server (VIP) | 172.28.46.239 |  |  | N | Sch_Rack Equipment: DIS Primary JCCP Server - JSC 5L AEC | As Built | IC | SC-03-6786942 | COM QE COM01551 | COM QE COM01551
520048 | SC-03 | DIS JCCP Server (VIP) | JCCP-HA-2 | ICT | Facilities Management | 162.714, 54.623 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | DIS_JCCPSrvr-VIP_3046 |  | 172.28.46.10 |  |  | N | Sch_Rack Equipment: DIS Primary JCCP Server - JSC 5L AEC | As Built | IC | SC-03-6786942 | COM QE COM01551 | COM QE COM01551
520000 | SC-03 | CCTV Network Storage Manager 1 | NVR001 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr01-NVR001_3060 | CCTV Primary System Manager | 172.28.60.16 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6785252 | COM QE COM01574 | COM QE COM01574
520001 | SC-03 | CCTV Network Storage Manager 10 | NVR010 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr10-NVR010_3060 | CCTV Primary System Manager | 172.28.60.25 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786701 | COM QE COM01589 | COM QE COM01589
520002 | SC-03 | CCTV Network Storage Manager 11 | NVR011 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr11-NVR011_3060 | CCTV Primary System Manager | 172.28.60.26 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786707 | COM QE COM01608 | COM QE COM01608
520003 | SC-03 | CCTV Network Storage Manager 12 | NVR012 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr12-NVR012_3060 | CCTV Primary System Manager | 172.28.60.27 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786713 | COM QE COM01507 | COM QE COM01507
520004 | SC-03 | CCTV Network Storage Manager 13 | NVR013 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr13-NVR013_3060 | CCTV Primary System Manager | 172.28.60.28 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786719 | COM QE COM01553 | COM QE COM01553
520005 | SC-03 | CCTV Network Storage Manager 14 | NVR014 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr14-NVR014_3060 | CCTV Primary System Manager | 172.28.60.29 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786725 | COM QE COM01556 | COM QE COM01556
520011 | SC-03 | CCTV Network Storage Manager 2 | NVR002 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr02-NVR002_3060 | CCTV Primary System Manager | 172.28.60.17 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786620 | COM QE COM01583 | COM QE COM01583
520022 | SC-03 | CCTV Network Storage Manager 3 | NVR003 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr03-NVR003_3060 | CCTV Primary System Manager | 172.28.60.18 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786659 | COM QE COM01252 | COM QE COM01252
520029 | SC-03 | CCTV Network Storage Manager 4 | NVR004 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr04-NVR004_3060 | CCTV Primary System Manager | 172.28.60.19 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786665 | COM QE COM01509 | COM QE COM01509
520030 | SC-03 | CCTV Network Storage Manager 5 | NVR005 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr05-NVR005_3060 | CCTV Primary System Manager | 172.28.60.20 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786671 | COM QE COM01550 | COM QE COM01550
520031 | SC-03 | CCTV Network Storage Manager 6 | NVR006 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr06-NVR006_3060 | CCTV Primary System Manager | 172.28.60.21 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786677 | COM QE COM01560 | COM QE COM01560
520032 | SC-03 | CCTV Network Storage Manager 7 | NVR007 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr07-NVR007_3060 | CCTV Primary System Manager | 172.28.60.22 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786683 | COM QE COM01575 | COM QE COM01575
520033 | SC-03 | CCTV Network Storage Manager 8 | NVR008 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr08-NVR008_3060 | CCTV Primary System Manager | 172.28.60.23 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786689 | COM QE COM01585 | COM QE COM01585
520034 | SC-03 | CCTV Network Storage Manager 9 | NVR009 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | CCTV_NetStorMgr09-NVR009_3060 | CCTV Primary System Manager | 172.28.60.24 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC | SC-03-6786695 | COM QE COM01295 | COM QE COM01295
520039 | SC-03 | Continuum Primary Server | PCHSEC-WS222 | ICT | Facilities Management | 164.996, 57.008 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C17 | SMS_Cntm-Pri-Acc-Svr-WS222_3035_WSPQSM004ELV |  | 172.28.35.222 |  |  | N | Sch_Rack Equipment: Continuum Primary Server - Supermicro 813-m | As Built | IC | SC-03-6787197 | COM QE COM01221 | COM QE COM01221
520041 | SC-03 | Continuum/VM Server | PCHSEC-WS233 | ICT | Facilities Management | 164.996, 57.008 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System | CCR2 Rack C20 | SMS_Cntm-Vistr-Mgt-WS233_3035 | Continuum Primary Server | 172.28.35.233 |  |  | N | Sch_Rack Equipment: Continuum Visitor Management Server - Supermicro 813-m | As Built | IC | SC-03-6787233 | COM QE COM01244 | COM QE COM01244
520051 | SC-05 | SMS Workstation - Ward 5A STA STN 1 | SMS-MHIP1 | Inpatient | Ward 5A | 185.77, 98.833 | IP4-077-01 | Staff Station | Ward 5A STA STN 1 | L05 |  |  |  |  | IPU - Ward 4 Mental Health | Security Servers | 2 | Zn0724 |  | AHU4.01Zn7 | L5-C | 513 | Security Management System |  | SMS_MHIP1-Wkstn-WS8_3035 | Continuum Primary Server | 172.28.35.244 |  |  | N | SCH_LCD: Desk Mounted_24 (SMS) | As Built | IC | SC-05-10629685
520058 | SC-05 | CCTV Workstation - Ward 5A STA STN 1 | CCTV-MHIP1 | Inpatient | Ward 5A | 185.77, 98.833 | IP4-077-01 | Staff Station | Ward 5A STA STN 1 | L05 |  |  |  |  | IPU - Ward 4 Mental Health | Security Servers | 2 | Zn0724 |  | AHU4.01Zn7 | L5-C | 513 | Security Management System |  | CCTV_Wkstn-MHIP1_3060_PCHCCTVMHIP1 | CCTV Primary System Manager | 172.28.60.200 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC | SC-05-10431634 | SEC QE SEC07212 | SEC QE SEC07212
520054 | SC-05 | CCTV Workstation - Mortuary | CCTV-MOR | Back of House | Mortuary | 194.772, 39.45 | MOR-007-01 | Mortuary - Autopsy Theatre | Mortuary Autopsy 2 | L02 |  |  |  |  | Mortuary | Security Servers | 2 | Zn0454 |  | AHU6.19Zn1 | L2-E | 206 | Security Management System |  | CCTV_Wkstn-Mor_3060_PCHCCTVMOR | CCTV Primary System Manager | 172.28.60.205 |  |  | N | SCH_LCD: Wall Mounted_24 | As Built | IC | SC-05-10629684 | SEC QE SEC03375 | SEC QE SEC03375
520006 | - | CCTV Network Storage Manager 15 | NVR015 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr15-NVR015_3060 | CCTV Primary System Manager | 172.28.60.30 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520007 | - | CCTV Network Storage Manager 16 | NVR016 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr16-NVR016_3060 | CCTV Primary System Manager | 172.28.60.31 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520008 | - | CCTV Network Storage Manager 17 | NVR017 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr17-NVR017_3060 | CCTV Primary System Manager | 172.28.60.32 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520009 | - | CCTV Network Storage Manager 18 | NVR018 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr18-NVR018_3060 | CCTV Primary System Manager | 172.28.60.33 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520010 | - | CCTV Network Storage Manager 19 | NVR019 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr19-NVR019_3060 | CCTV Primary System Manager | 172.28.60.34 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520012 | - | CCTV Network Storage Manager 20 | NVR020 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr20-NVR020_3060 | CCTV Primary System Manager | 172.28.60.35 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520013 | - | CCTV Network Storage Manager 21 | NVR021 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr21-NVR021_3060 | CCTV Primary System Manager | 172.28.60.36 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520014 | - | CCTV Network Storage Manager 22 | NVR022 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr22-NVR022_3060 | CCTV Primary System Manager | 172.28.60.37 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520015 | - | CCTV Network Storage Manager 23 | NVR023 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr23-NVR023_3060 | CCTV Primary System Manager | 172.28.60.38 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520016 | - | CCTV Network Storage Manager 24 | NVR024 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr24-NVR024_3060 | CCTV Primary System Manager | 172.28.60.39 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520017 | - | CCTV Network Storage Manager 25 | NVR025 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr25-NVR025_3060 | CCTV Primary System Manager | 172.28.60.40 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520018 | - | CCTV Network Storage Manager 26 | NVR026 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_NetStorMgr26-NVR026_3060 | CCTV Primary System Manager | 172.28.60.41 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520019 | - | CCTV Network Storage Manager 27 | NVR027 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | CCTV_NetStorMgr27-NVR027_3060 | CCTV Primary System Manager | 172.28.60.42 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520020 | - | CCTV Network Storage Manager 28 | NVR028 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | CCTV_NetStorMgr28-NVR028_3060 | CCTV Primary System Manager | 172.28.60.43 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520037 | - | CCTV Secondary Integration Gateway | UDI002 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | CCTV_Intgrtn-GW-2-UDI002_3060 | CCTV Primary System Manager | 172.28.60.45 |  |  | N | Sch_Rack Equipment: CCTV Primary Integration Gateway - UDI5000-MTRX | As Built | IC
520038 | - | CCTV Secondary System Manager | SM002 | ICT | Facilities Management | 20.833, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C04 | CCTV_SysMgr2_3060 | CCTV Primary System Manager | 172.28.60.11 |  |  | N | Sch_Rack Equipment: CCTV Primary System - SM5200 | As Built | IC
520040 | - | Continuum Secondary Sever | PCHSEC-WS253 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | SMS_Cntm-Sec-Acc-Svr-WS253_3035_WSPQSM005ELV | Continuum Primary Server | 172.28.35.253 |  |  | N | Sch_Rack Equipment: Continuum Primary Server - Supermicro 813-m | As Built | IC
520044 | - | DIS Secondary JCCP Server | JCCP-HA-1 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | DIS_JCCPSrvrSec_3046 | DIS JCCP Server (VIP) | 172.28.46.238 |  |  | N | Sch_Rack Equipment: DIS Primary JCCP Server - JSC 5L AEC | As Built | IC
520045 | - | DIS Secondary SIP Server | SIP-HA-1 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | DIS_SIPSrvrSec_3046 | DIS SIP Proxy (VIP) | 172.28.46.235 |  |  | N | Sch_Rack Equipment: DIS Primary SIP Server - TCH-2MXH | As Built | IC
520046 | - | DIS Total Recall Unit - CCR1 | TRVR002 | ICT | Facilities Management | 19.333, -29.927 | CCR1 | CCR1 in Pathwest | FM CCR 1 | L02 |  |  |  |  | ICT | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System | CCR1 Rack C03 | DIS_TtlRecallPri_3046 | DIS Secondary JCCP Server | 172.28.46.233 |  |  | N | Sch_Rack Equipment: DIS Total Recall Unit - TRVR LinX Omnia | As Built | IC
520061 | - | CCTV VCD - CEP | VCD001 | CEP | CEP | 0, 0 | CEP | Central Energy Plant | CEP | L01 |  |  |  |  | CEP | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System |  | CCTV_Monitor-1-CEP-VCD001_3060 | CCTV Primary System Manager | 172.28.60.47 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC
520053 | SC-05 | SMS Workstation - Ward 5A STA STN 2 | SMS-MHIP3 | Inpatient | Ward 5A | 208.11, 82.657 | IP4-014-01 | Staff Base | Ward 5A STA STN 2 | L05 |  |  |  |  | IPU - Ward 4 Mental Health | Security Servers | 2 | Zn0719 |  | AHU4.01Zn7 | L5-C | 513 | Security Management System |  | SMS_MHIP3-Wkstn-WS10_3035 | Continuum Primary Server | 172.28.35.246 |  |  | N | SCH_LCD: Desk Mounted_24 (SMS) | As Built | IC | SC-05-10629687
520059 | SC-05 | CCTV Workstation - Ward 5A STA STN 3 | CCTV-MHIP2 | Inpatient | Ward 5A | 208.11, 82.657 | IP4-030-01 | Staff Base | Ward 5A STA STN 3 | L05 |  |  |  |  | IPU - Ward 4 Mental Health | Security Servers | 2 | Zn0707 |  | AHU4.01Zn7(Zn8) | L5-C | 513 | Security Management System |  | CCTV_Wkstn-MHIP2_3060_PCHCCTVMHIP2 | CCTV Primary System Manager | 172.28.60.201 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC | SC-05-10427286 | SEC QE SEC06795 | SEC QE SEC06795
520050 | SC-04 | CCTV Workstation - EMD | CCTV-EMD | ED Cluster | EMG | 219.477, 42.208 | EMD-circ-04.02 | Corridor | EMG RECPT CORR | GR |  |  |  |  | Emergency Department | Security Servers | 2 | Zn0182 |  | AHU5.04Zn6 | GR-B | 14 | Security Management System |  | CCTV_Wkstn-EMD_3060_PCHCCTVEMD | CCTV Primary System Manager | 172.28.60.203 |  |  | N | SCH_LCD: Wall Mounted_32 | As Built | IC | SC-04-8435301 | SEC QE SEC01695 | SEC QE SEC01695
520052 | SC-05 | SMS Workstation - Ward 5A STA STN 3 | SMS-MHIP2 | Inpatient | Ward 5A | 235.686, 50.385 | IP4-030-01 | Staff Base | Ward 5A STA STN 3 | L05 |  |  |  |  | IPU - Ward 4 Mental Health | Security Servers | 2 | Zn0707 |  | AHU4.01Zn7(Zn8) | L5-C | 513 | Security Management System |  | SMS_MHIP2-Wkstn-WS9_3035 | Continuum Primary Server | 172.28.35.245 |  |  | N | SCH_LCD: Desk Mounted_24 (SMS) | As Built | IC | SC-05-10629686
520060 | SC-05 | CCTV Workstation - Ward 5A STA STN 2 | CCTV-MHIP3 | Inpatient | Ward 5A | 235.686, 50.385 | IP4-014-01 | Staff Base | Ward 5A STA STN 2 | L05 |  |  |  |  | IPU - Ward 4 Mental Health | Security Servers | 2 | Zn0719 |  | AHU4.01Zn7 | L5-C | 513 | Security Management System |  | CCTV_Wkstn-MHIP3_3060_PCHCCTVMHIP3 | CCTV Primary System Manager | 172.28.60.202 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC | SC-05-10429133 | SEC QE SEC06532 | SEC QE SEC06532
520021 | - | CCTV Network Storage Manager 29 (Cluster VIP) | NVR029 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr29-NVR029_3060 | CCTV Primary System Manager | 172.28.60.50 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520023 | - | CCTV Network Storage Manager 30 (Cluster VIP) | NVR031 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr30-NVR030_3060 | CCTV Primary System Manager | 172.28.60.51 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520024 | - | CCTV Network Storage Manager 31 (Cluster VIP) | NVR032 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr31-NVR031_3060 | CCTV Primary System Manager | 172.28.60.52 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520025 | - | CCTV Network Storage Manager 32 (Cluster VIP) | NVR033 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr32-NVR032_3060 | CCTV Primary System Manager | 172.28.60.53 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520026 | - | CCTV Network Storage Manager 33 (Cluster VIP) | NVR034 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr33-NVR033_3060 | CCTV Primary System Manager | 172.28.60.54 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520027 | - | CCTV Network Storage Manager 34 (Cluster VIP) | NVR035 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr34-NVR034_3060 | CCTV Primary System Manager | 172.28.60.55 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520028 | - | CCTV Network Storage Manager 35 (Cluster VIP) | NVR036 | ICT | Facilities Management | 163.235, 55.163 | ICT-000-01 | ICT | FM CCR 2 | LB |  |  |  |  | ICT | Security Servers | 2 | Zn0039 |  | FCU-CCR2-01 | B2-E | 95 | Security Management System |  | CCTV_NetStorMgr35-NVR035_3060 | CCTV Primary System Manager | 172.28.60.56 |  |  | N | Sch_Rack Equipment: CCTV Network storage - NSM5200 | As Built | IC
520057 | - | SMS Workstation - EMD | SMS-EMD | ED Cluster | EMG | 206.56, 23.114 | EMD-004-01 | Security Desk - Foyer | EMG Security RECPT | GR |  |  |  |  | Emergency Department | Security Servers | 2 | Zn0242 |  | AHU1.15Zn1 | GR-Z | 8 | Security Management System |  | SMS_EMD-Wkstn-WS11_3035 | Continuum Primary Server | 172.28.35.225 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC
520062 | - | CCTV VCD - EMG SECURITY | VCD002 | ED Cluster | EMG | 206.56, 23.114 | EMD-004-02 | Security Enclosed Room | EMG SECURITY | GR |  |  |  |  | Emergency Department | Security Servers | 2 | Zn0293 |  | AHU1.15Zn1 | GR-Z | 8 | Security Management System |  | CCTV_Monitor-2-EMGSEC-VCD002_3060 | CCTV Primary System Manager | 172.28.60.48 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC
520063 | - | CCTV VCD - EMG Security RECPT | VCD003 | ED Cluster | EMG | 206.916, 28.848 | EMD-004-01 | Security Desk - Foyer | EMG Security RECPT | GR |  |  |  |  | Emergency Department | Security Servers | 2 | Zn0242 |  | AHU1.15Zn1 | GR-Z | 8 | Security Management System |  | CCTV_Monitor-3-EMGRECPT-VCD003_3060 | CCTV Primary System Manager | 172.28.60.49 |  |  | N | SCH_LCD: Desk Mounted_24 | As Built | IC
520056 | - | SMS Workstation - CEP | SMS-CEP | CEP | CEP | 0, 0 | CEP | Central Energy Plant | CEP | L01 |  |  |  |  | CEP | Security Servers | 2 | 0 |  | 0 | 0 | 0 | Security Management System |  | SMS_CEP-Wkstn-WS13_3035 | Continuum Primary Server | 172.28.35.204 |  |  | N | SCH_RACK_EQUIPMENT: NUC | As Built | IC