## Assorted
Id | Model | Name | Mark | Department | Way-Finding Department | Coordinate Reference | Room Number | Room Name | Way-Finding Room Name | Floor | CCTV Primary Target | CCTV Ancillary Target 1 | CCTV Ancillary Target 2 | Associated CCTV Camera | Functional Area | Category | Category Number | Security Zone 1 | Security Zone 2 | HVAC Zone | Fire Alarm Zone | Fire Alarm Zone 2 | System Owner | Termination Destination | Point Name | Parent Name | IP Address | Lighting Control Address 1 | Lighting Control Address 2 | Display by default | Family and Type | PCH_Installation_Status | type | Asset identifier (BIM 360) | Asset Name (BIM 360) | Asset No (BIM 360) | Comments | Date
320511 | TKI | Duress Button 600 | ACS-L8-231-D01 | L08 Cyrogenics | L08 Cyrogenics | 114.627, 90.319 | WB8-101-00 | L08 Cyrogenics Store | L08 Cyrogenics Store | L08 |  |  |  | CAM601 | L08 Cyrogenics | Duress | 3 | Zn2035 |  | 0 | 0 | 0 | Security Management System | TKI Controller | Dus600 | TKI Controller |  |  |  | Y | SCH_DURESS_BUTTON: D1_Wall Mounted_Smart Innovations 4370 | As Built | DUS
320512 | TKI | Duress Button 601 | ACS-L8-231-D02 | L08 Cyrogenics | L08 Cyrogenics | 117.649, 90.034 | WB8-101-00 | L08 Cyrogenics Store | L08 Cyrogenics Store | L08 |  |  |  | CAM601 | L08 Cyrogenics | Duress | 3 | Zn2036 |  | 0 | 0 | 0 | Security Management System | TKI Controller | Dus601 | TKI Controller |  |  |  | Y | SCH_DURESS_BUTTON: D1_Wall Mounted_Smart Innovations 4370 | As Built | DUS
320513 | TKI | Duress Button 602 | ACS-L8-231-D03 | L08 Cyrogenics | L08 Cyrogenics | 114.535, 101.926 | WB8-101-00 | L08 Cyrogenics Store | L08 Cyrogenics Store | L08 |  |  |  | CAM601 | L08 Cyrogenics | Duress | 3 | Zn2036 |  | 0 | 0 | 0 | Security Management System | TKI Controller | Dus602 | TKI Controller |  |  |  | Y | SCH_DURESS_BUTTON: D1_Wall Mounted_Smart Innovations 4370 | As Built | DUS
320514 | TKI | Duress Button 603 | ACS-L8-231-D04 | L08 Cyrogenics | L08 Cyrogenics | 114.535, 102.017 | WB8-101-01 | L08 Cyrogenics Store (Pump Rm) | L08 Cyrogenics Store (Pump Rm) | L08 |  |  |  | CAM601 | L08 Cyrogenics | Duress | 3 | Zn2037 |  | 0 | 0 | 0 | Security Management System | TKI Controller | Dus603 | TKI Controller |  |  |  | Y | SCH_DURESS_BUTTON: D1_Wall Mounted_Smart Innovations 4370 | As Built | DUS